DEPARTMENT OF LICENSING AND REGULATORY AFFAIRSLABOR AND ECONOMIC OPPORTUNITY

DIRECTOR'S OFFICE

CONSTRUCTION SAFETYAND HEALTH STANDARDS

Filed with the secretary of state on

These rules take effect immediately upon filing with the secretary of state unless adopted under section 33, 44, or 45a(6) of the administrative procedures act of 1969, 1969 PA 306, MCL 24.233, 24.244, or 24.245a.  Rules adopted under these sections become effective 7 days after filing with the secretary of state.

(By authority conferred on the director of the department of licensing and regulatory affairslabor and economic opportunity by sections 19 and 21 of the Michigan occupational safety and health act, 1974 PA 154, MCL 408.1019 and 408.1021, and Executive Reorganization Order Nos. 1996-2, 2003-1, 2008-4, and 2011-4, and 2019-3, MCL 445.2001, 445.2011, 445.2025, and 445.2030, and 125.1998)

R 408.40810 and R 408.40818 of the Michigan Administrative Code are amended, and R 408.40801 is rescinded, as follows:

PART 8. HANDLING AND STORAGE OF MATERIALS

R 408.40801 ScopeRescinded.

Rule 801. This standard pertains to the handling and storage of construction materials, including care and use of slings, ropes, and chains for a construction operation, except for specific rules covering materials covered in the following MIOSHA standards, which are referenced in R 408.40810:

(a) Construction Safety Standard Part 7 “Welding and Cutting.”

(b) Construction Safety Standard Part 18 “Fire Protection and Prevention.”

(c) Construction Safety Standard Part 20 “Demolition.”

(d) Construction Safety Standard Part 27 “Blasting and Use of Explosives.”

R 408.40810 Adoption by reference of standardsScope and adoption by reference of standards.

Rule 810. (1)  This standard pertains to the handling and storage of construction materials, including care and use of slings, ropes, and chains for a construction operation, except for specific rules covering materials covered in the following MIOSHA standards, which are referenced in R 408.40810:

(a) Construction Safety and Health Standard Part 7. “Welding and Cutting.”

(b) Construction Safety and Health Standard Part 18. “Fire Protection and Prevention.”

(c) Construction Safety and Health Standard Part 20. “Demolition.”

(d) Construction Safety and Health Standard Part 27. “Blasting and Use of Explosives.”

(1)(2)  The Compressed Gas Association Standard, P-1--2000, “Safe Handling of Compressed Gases in Containers,” ninth edition, is adopted in these rules. The standard is available from the Compressed Gas Association, Inc., 4221 Walney Road, 5th Floor, Chantilly, Virginia,VA, 20151-2923; telephone number: 703-788-2700 or via the internet at web-site: www.cganet.com at a cost as of the time of adoption of these rules of $227.00.

(2)  The standard adopted in these rules is available for inspection at the Department of Licensing and Regulatory AffairsLabor and Economic Opportunity, MIOSHA, Regulatory ServicesStandards and FOIA Section, 530 West Allegan Street, P.O. Box 3064330645, Lansing, Michigan, 48909-814348909-8145.

(3) The standard adopted in these rules may be obtained from the publisher or may be obtained from the Department of Licensing and Regulatory AffairsLabor and Economic Opportunity, MIOSHA, Regulatory ServicesStandards and FOIA Section, 530 West Allegan Street, P.O. Box 3064330645, Lansing, Michigan, 48909-814348909-8145, plus $20.00 for shipping and handling.

(4) The following Michigan occupational safety and health (MIOSHA) standards are referenced in these rules.  Up to 5 copies of these standards may be obtained at no charge from the Michigan Department of Licensing and Regulatory AffairsLabor and Economic Opportunity, MIOSHA, Regulatory ServicesStandards and FOIA Section, 530 West Allegan Street, P.O. Box 3064330645, Lansing, Michigan, 48909-814348909-8145 or via the internet at website: www.michigan.gov/mioshastandards.  For quantities greater than 5, the cost, as of the time of adoption of these rules, is 4 cents per page.

(a) Construction Safety and Health Standard Part 7. “Welding and Cutting,” R 408.40701 to R 408.40762.

(b) Construction Safety and Health Standard Part 18. “Fire Protection and Prevention,” R 408.41801 to R 408.41884.

(c) Construction Safety and Health Standard Part 20. “Demolition,” R 408.42001 to R 408.42047.

(d) Construction Safety and Health Standard Part 27. “Blasting and Use of Explosives,” R 408.42701 to R 408.42799.

(e) General Industry Safety and Health Standard Part 49. “Slings,” R 408.14901 to R 408.14965.

R 408.40818  General provisions; storage.

Rule 818. (1)  All material shall be stacked, racked, blocked, interlocked, or otherwise secured to prevent sliding, falling, or collapse during storage or transit.

(a) Structural steel, poles, pipe, bar stock, and other cylindrical materials, unless racked, shall be stacked and blocked so as to prevent spreading or tilting.

(2) The maximum safe load limit in pounds per square foot of a floor or roof of a building shall be conspicuously posted in all storage areas, except when a storage area is on a floor ora slab on grade.  The maximum safe load limit shall not be exceeded.  Posting is not required for storage areas in all single-family residential structures and wood-framed multi-family residential structures.

(3) Storage areas, aisles, and passageways shall be kept free of the accumulation of materials that constitutes a hazard to the movement of material-handling equipment and employees.  Such areas shall be kept in good repair.

(4) If a difference in road or work levels exists, ramps, grading, or blocking shall be provided to ensure the safe movement of material-handling equipment.

(5) A railcar, truck, or semitrailer shall be chocked or otherwise secured during loading and unloading if the movement of a railcar, truck, or trailer could create a hazard for the employee.

(6) While roofing work is being performed, materials and equipment shall not be stored within 6 feet (1.8 m) of a roof edge, unless guardrails are erected at the roof edge.

(7) Material stored inside buildings under construction shall not be placed within 6 feet of any hoistway or inside floor openings, nor within 10 feet of an exterior wall that does not extend above the top of the material stored.

(8) Noncompatible materials shall be segregated in storage.

(9) Storage areas shall be kept free from accumulation of materials that constitute hazards from tripping, fire, explosion, or pest harborage.  Vegetation control shall be exercised when necessary.

(10) Materials shall not be stored on scaffolds or runways in excess of supplies needed for immediate operations.

(11) Portable and powered dockboards shall be strong enough to carry the load imposed on them.

(12) Portable dockboards shall be secured in position by being anchored and equipped with devices that will prevent slipping.

(13) Handholds, or other effective means, shall be provided on portable dockboards to permit safe handling.

(14) Positive protection shall be provided to prevent railroad cars from being moved while dockboards or bridge plates are in position.