,DEPARTMENT OF LICENSING AND REGULATORY AFFAIRS

DIRECTOR’S OFFICE

CONSTRUCTION CODE

Filed with the secretary of state on

These rules become effective 120 days after filing with the secretary of state.

(By authority conferred on the director of the department of licensing and regulatory affairs by section 4 of  the Stille-DeRossett-Hale single state construction code act,1972 PA 230, MCL 125.1504, and Executive Reorganization Order Nos. 2003-1, 2008-4, and 2011-4, MCL 445.2011, 445.2025, and 445.2030)

R 408.30551, R 408.30557, R 408.30558, R 408.30560, R 408.30561, R 408.30564, and R 408.30571 of the Michigan Administrative Code are amended, and R 408.30556, R 408.30559, R 408.30562, R 408.30565, R 408.30565a, R 408.30566, R 408.30568, R 408.30570, R 408.30572, R 408.30573, R 408.30574, R 408.30575, and R 408.30576 are rescinded, as follows:

REHABILITATION CODE

R 408.30551  Applicable code.

Rule 551. The international existing building code, 2015 2021 edition, including appendix A and resource A, hereinafter referred to in these rules as "the code," is adopted by reference, as provided in section 32(4) of the Administrative Procedures Act of 1969, MCL 24.232, as the "Michigan rehabilitation code for existing buildings" with the exception of sections 103.1,to 103.3, 104.8, 104.8.1, 104.10, 105.3, to 105.3.2, 108.2 to 108.6, 110.2, 110.3, 112.1, to 112.4, 113.1, to 113.3, 114.1, 114.3, to 114.4, 705.1.1 to 705.2, 806.2, and Appendix B and C, and as otherwise noted in these rules. The international existing building code, 2015 2021 edition is available for inspection at the Michigan Department of Licensing and Regulatory Affairs, Bureau of Construction Codes, 611 West. Ottawa Street, 1st First Floor Ottawa Building, Lansing, Michigan 48933. The code may be purchased from the International Code Council, through the bureau’s website at www.michigan.gov/bcc, at a cost as of the time of adoption of these rules of $81.00 $77.50.

101.3 Purpose: The purpose of the code and the act is to provide the use of alternative approaches to achieve compliance with minimum requirements to provide a reasonable level of safety, health, property protection and general welfare insofar as they are affected by the repair, alteration, change of occupancy, addition, and relocation of existing buildings. The act takes precedence over all provisions of the code.

R 408.30556 Elevators. Rescinded.

Rule 556. Section 902.1.2 of the code is amended as follows:

902.1.2. Elevators. Where there is an elevator or elevators for public use, at least 1 elevator serving the work area shall comply with this section. Existing elevators with a travel distance of 25 feet (7620 mm) or more above or below the main floor or other level of a building and intended to serve the needs of emergency personnel for fire fighting or rescue purposes shall be provided with emergency operation in accordance with the Michigan elevator code. New elevators shall be provided with phase I emergency recall operation and phase II emergency in-car operation in accordance with the Michigan elevator code.

R 408.30557  Definitions.

Rule 557. The definitions of act, building official, and registered design professional in the act are is added to section 202 of the code to read as follows:

202. Definitions.

(a) "Act" means the Stille-DeRossett-Hale single state construction code act, 1972 PA 230, MCL 125.1501 to 125.1531 and known as the Stille-DeRossett-Hale single state construction code act.

"Building official" means the person who is appointed and employed by a governmental subdivision charged with the administration and enforcement of the state code or codes and who is registered in accordance with the requirements of 1986 PA 54, MCL 338.2301 to 338.2313. Where used in this code, the term code official means "building official."

(b) "Registered design professional" means an individual who is licensed under the occupational code, 1980 PA 299, MCL 339.101 to 339.2919 2677.

R 408.30558  Preliminary meeting.

Rule 558. Section 104.2.2 of the code is amended and 104.6 is added to read as follows:

104.2.2. Preliminary meeting. When requested by the owner or owner’s agent, the building official shall meet with the owner or the owner’s agent to discuss plans for the proposed work or change of occupancy before the application for a construction permit in order to establish the specific applicability of the provisions of this the code. The building official shall notify the appropriate fire official of the meeting.

Exception: Repairs, and alterations level 1.

104.6 Right of entry: If a building or premises are occupied, the code official shall present their credentials to the occupant and request entry. If a building or premises are unoccupied, the code official shall first make a reasonable effort to locate either the owner, the owner’s authorized agent, or another  individual having care or control of the building or premises and request entry. If entry is refused, the code official has recourse to every remedy provided by law to secure entry. When a code official has first obtained a proper inspection warrant or other remedy provided by law to secure entry, the owner, the owner’s authorized agent, the occupant, or the individual having charge, care, or control of the building or premises shall not fail or neglect, after a proper request is made as provided in this rule, to allow the code official prompt entry into the building or premises to inspect or examine the building or premises pursuant to the code.

R 408.30559 Preliminary review. Rescinded.

Rule 559. Section 104.2.3 is added to the code to read as follows:

104.2.3. Preliminary review. When a building permit is required by the code, the owner or owner’s agent may request a review of preliminary construction documents to determine compliance with this code.

R 408.30560 Annual permit. Permits.

Rule 560. Sections 105.1.1, 105.1.2, and of the code is being added and 105.2 of the code is amended as follows:

105.1 Required: Owners or their authorized agents shall obtain the required permit from a building official before undertaking any construction, enlargement, alteration, repair, relocation, demolition, change of occupancy, erection, installation, enlargement, alteration, repair, removal, conversion, or replacement of electrical, gas, mechanical, plumbing, or solar panel systems regulated by the code.

105.1.1. Annual permit. In place of an individual permit for each alteration to an already approved electrical, gas, mechanical, or plumbing installation, the enforcing agency is authorized to issue an annual permit upon application to any person, firm, or corporation. The applicant shall be licensed in accordance with the requirements of the electrical administrative act, 1956 PA 217, MCL 338.881 to 338.892,; Forbes mechanical contractors act, 1984 PA 192, MCL 338.971 to 338.988,; or state plumbing act, 2002 PA 733, MCL 338.3511 to 338.3569.

105.1.2. Annual permit records. The person to whom an annual permit is issued shall keep a detailed record of alterations made under an annual permit. Access to the records shall be provided at all times and the records shall be filed with the enforcing agency.

105.2. Work exempt from permit. Exemptions from permit requirements of the code shall not be deemed to grant authorization for any work to be done in any manner in violation of the code or any other laws or ordinances of this jurisdiction. Permits shall not be required for any of the following:

(a) Building permits shall not be required for any of the following:

(i) One-story detached accessory structures used as tool and storage sheds, playhouses, and similar uses, provided the floor area does not exceed 120 square feet, (11.15 square meters m2).

(ii) A fence that is not more than 7 feet, (134 millimeters, mm) high.

(iii) Oil derricks.

(iv) A retaining wall that is not more than 4 feet, (1,219 millimeters, mm) in height measured from the bottom of the footing to the top of the wall, unless supporting a surcharge or impounding class I, II, or III-A liquids.

(v) A water tank supported directly on grade if the capacity is not greater than 5,000 gallons, (18 925 liters, L) and the ratio of height to diameter or width is not greater than 2 to 1.

(vi) A sidewalk and driveway not more than 30 inches, (762 millimeters, mm) above adjacent grade and not over any basement or story below and are not part of an accessible route.

(vii) Painting, papering, tiling, carpeting, cabinets, countertops counter tops, and similar finish work.

(viii) Temporary motion picture, television, and theater stage sets and scenery.

(ix) Prefabricated swimming pools accessory to a group R-3 occupancy, as applicable in section 101.2, that are less than 24 inches, (610 millimeters, mm) deep, are not greater than 5,000 gallons, (18,925 liters, L) and are installed entirely above ground.

(x) Shade cloth structures constructed for nursery or agricultural purposes and not including service systems.

(xi) Swings and other playground equipment accessory to detached 1- and 2-family dwellings.

(xii) Window awnings in group R-3 and U occupancies, supported by an exterior wall that do not project more than 54 inches, (1,372 millimeters, mm) from the exterior wall and do not require additional support, as applicable in section 101.2.

(xiii) Nonfixed and movable fixtures, cases, racks, counters, and partitions not over 5 feet 9 inches, (1,753 millimeters, mm) in height.

(b) Electrical permits shall not be required, as in accordance with pursuant to the Michigan electrical code, R 408.30801 to R 408.30880, for any of the following:

(i) Repairs and maintenance: Minor repair work, including the replacement of lamps or the connection of approved portable electrical equipment to approved permanently installed receptacles.

(ii) Radio and television transmitting stations: The provisions of the code do not apply to electrical equipment used for radio and television transmissions, but they do apply to equipment and wiring for power supply and to the installation of towers and antennas.

(iii) Temporary testing systems: A permit shall not be required for the installation of any temporary system required for the testing or servicing of electrical equipment or apparatus.

(c) Mechanical permits shall not be required for any of the following:

(i) A portable gas heating or gas appliance that has inputs of less than 30,000 Btu’s per hour.

(ii) Portable ventilation appliances and equipment.

(iii) A Portable portable cooling unit.

(iv) Steam, hot water, or chilled water piping within any heating or cooling equipment or appliances regulated by the code.

(v) The replacement Replacement of any a minor part that does not alter the approval of equipment or an appliance or make such the equipment or appliance unsafe.

(vi) A portable evaporative cooler.

(vii) Self-contained refrigeration systems that contain 10 pounds, (4.5 kilograms, kg) or less of refrigerant, or that are actuated by motors of 1 horsepower, (0.75 kilowatts, kW) or less.

(viii) Portable fuel cell appliances that are not connected to a fixed piping system and are not interconnected to a power grid.

(ix) An oil burner that does not require connection to a flue, such as an oil stove and a heater equipped with a wick.

(x) A portable gas burner that has inputs of less than 30,000 Btu’s per hour.

(xii) (xi) When changing or relocating a gas meter or regulator, a permit is not required when installing gas piping which shall be limited to 10 feet, (3,005 millimeters, mm) in length and not more then than 6 fittings.

(xi) (xii) When installing geothermal vertical closed loops under the supervision of a mechanical contractor licensed in heating, ventilation and air conditioning, (“HVAC”,) as long as the company meets both of the following:

(A) Has obtained a certificate of registration as a well drilling contractor pursuant to part 127 of the public health code, 1978 PA 368, MCL 333.12701 to 333.12771.

(B) Has installed the geothermal vertical closed loops in accordance with pursuant to the department of environmental quality environment, Great Lakes, and energy best practices regarding geothermal heat pump closed loops.

Exemption from the permit requirements of this the code do not shall not be deemed to grant authorization for work to be done in violation of the provisions of the this code or other laws or ordinances of this jurisdiction.

(d) Plumbing permits shall not be required for either of the following:

(i) The stopping of leaks in drains, water, soil, waste, or vent pipe. However, if any concealed trap, drainpipe, water, soil, waste, or vent pipe becomes defective and it becomes necessary to remove and replace the drain or pipe with new material, then the work is considered new work and a permit shall be obtained and inspection made as provided in the code.

(ii) The clearing of stoppages or the repairing of leaks in pipes, valves, or fixtures, and the removal and reinstallation of water closets, if the repairs do not involve or require the replacement or rearrangement of valves, pipes, or fixtures.

R 408.30561  Accessibility.

Rule 561. Sections 410.1, 410.6, 410.7, 410.8.2 and 410.8.3 306.1, 306.7, 306.7.7, and 306.7.8 of the code are amended as follows:

410.1. 306.1. Scope. A building, facility, or element that has a change in use group or occupancy load or alteration shall comply in accordance with the requirements of the utilization of public facilities by physically limited, 1966 PA 1, MCL 125.1351 to 125.1356, and the Michigan building code, R 408.30401 to R 408.30499a.

410.6. 306.7. Alterations. A building, facility, or element that is altered shall comply with the applicable provisions in chapter 11 of the Michigan building code and ICC/A117.1 listed in chapter 16, of the Michigan building code unless technically infeasible. When compliance with this section is technically infeasible, then the alteration shall provide access to the maximum extent technically feasible.

Exceptions:

(1) The altered element or space is not required to be on an accessible route, unless required by section 410.7 306.7.2 of the code.

(2) Accessible means of egress required by chapter 10 of the Michigan building code are not required to be provided in existing buildings and facilities.

(3) Buildings, structures, or improved areas which that exist on or before the effective date of these rules and which are in compliance comply with the code at the time of the issuance of the certificate of occupancy unless the alteration specifically modifies an area covered by sections 410.6 306.7 to 306.7.7 of the code.

(4) The alteration to type A individually owned dwelling units within a group R-2 occupancy shall meet the provisions for a type B dwelling unit and shall comply with the applicable provisions in chapter 11 of the Michigan building code and ICC/A 117.1 listed in chapter 16 of the Michigan building code.

410.7. 306.7.2 Alterations affecting an area containing a primary function. Where an alteration affects the accessibility to, or contains an area of, primary function, the route to the primary function area shall be accessible. The accessible route to the primary function area shall include toilet facilities and drinking fountains serving the area of primary function.

Exceptions:

(1) (a) This provision does not apply to alterations limited solely to windows, hardware, operating controls, electrical outlets, and signs.

(2) (b) This provision does not apply to alterations limited solely to mechanical systems, electrical systems, installation or alteration of fire protection systems, and abatement of hazardous materials.

(3) (c) This provision does not apply to alterations undertaken for the primary purpose of increasing the accessibility of an existing building, facility, or element.

(4) (d) This provision does not apply to altered areas limited to type B dwelling and sleeping units.

410.8.2. 306.7.7.  Elevators. Altered elements of existing elevators shall comply with the Michigan elevator code, R 408.7001 to R 408.8695. Such These elements shall also be altered in elevators programmed to respond to the same hall call control as the altered elevator.

410.8.3. 306.7.8. Platform lifts. Platform or (wheelchair) lifts complying with ICC/A 117.1 listed in chapter 16 of the Michigan building code.

, and installed in accordance with the Michigan elevator code, R 408.7001 to R 408.8695 shall be permitted allowed as a component of an accessible route.

R 408.30562 Submittal of documents. Rescinded.

Rule 562. Section 106.1 of the code is amended as follows:

106.1 Submittal of documents. Construction documents, special inspection and structural observation programs, investigation and evaluation reports, and other data shall be submitted in 1 or more sets with each application for a permit. The construction documents shall be prepared by or under the direct supervision of a registered design professional when required by 1980 P.A. 299, MCL 339.101 to 339.2721. Where special conditions exist, the building official is authorized to require additional construction documents to be prepared by a registered design professional.

Exception: The building official is authorized to waive the submission of construction documents and other data not required to be prepared by a registered design professional if it is found that the nature of the work applied for is such that reviewing of construction documents is not necessary to obtain compliance with this code.

R 408.30564  Elevator control.

Rule 564. Section 1401.6.14 1301.6.14 of the code is amended as follows:

1401.6.14. Elevator control. Evaluate the passenger elevator equipment and controls that are available to the fire department to reach all occupied floors. Elevator recall controls shall be provided in accordance with pursuant to the Michigan elevator code, R 408.7001 to R 408.8695. Under the categories and occupancies in table 1401.6.14, determine the appropriate value and enter that value into table 1401.7 under safety parameter 1401.6.14, elevator control, for fire safety, means of egress, and general safety. The values shall be zero for a single-story building.

R 408.30565 Payment of fees. Rescinded.

Rule 565. Section 108.1 of the code is amended as follows:

108.1 Payment of fees. The fees prescribed by the act shall be paid to the enforcing agency of the jurisdiction before a permit to begin work may be issued. In addition, an amendment to a permit necessitating an additional fee shall not be approved until the additional fee has been paid.

R 408.30565a Smoke alarm reference codes. Rescinded.

Rule 565a. Sections 402.5, 403.10, 804.4.3, and 1104.1 of the code are amended as follows:

402.5. Smoke alarms in existing portions of a building. Where an addition is made to a building or structure of a group R or I-1 occupancy, the existing building shall be provided with smoke alarms in accordance with the Michigan building code.

403.10. Smoke alarms. Individual sleeping units and individual dwelling units in group R and I-1 occupancies shall be provided with smoke alarms in accordance with the Michigan building code.

804.4.3. Smoke alarms. Individual sleeping units and individual dwelling units in any work area in group R and I-1 occupancies shall be provided with smoke alarms in accordance with the Michigan building code.

Exception: Interconnection of smoke alarms outside of the work area shall not be required.

1104.1. Smoke alarms in existing portions of a building. Where an addition is made to a building or structure of a group R or I-1 occupancy, the existing building shall be provided with smoke alarms as required by the Michigan building code or the Michigan residential code as applicable.

R 408.30566 Smoke alarm locations. Rescinded.

Rule 566. Sections 501.3 and 501.3.1 are added to the code as follows:

501.3. Smoke alarm locations in existing buildings constructed before November 6, 1974. Within each dwelling unit or sleeping unit, a single-station smoke alarm shall be installed in the following locations:

(1) In each sleeping room or each area directly outside the sleeping room.

(2) On each floor level including the basement level.

For sleeping units with split levels and without an intervening door between the adjacent levels, a smoke alarm installed on the upper level shall suffice for the adjacent lower level provided that the lower level is less than 1 full story below the upper level.

501.3.1. Equipment Requirements. The required equipment for smoke alarms consist of the following:

(1) Installation. Smoke alarm devices shall be listed and installed in accordance with the provisions of this code, the manufacturers installation requirements, and the provisions of NFPA 72 as listed in chapter 16.

(2) Power Source. The equipment shall be operable by power from 1 of the following primary sources.

(a) The building wiring provided that such wiring is served from a commercial source and is equipped with a battery backup. Wiring shall be permanent and without a disconnecting switch other than as required for overcurrent protection.

(b) A non-rechargeable battery that is capable of operating the smoke alarm in the normal condition for a life of 5 years.

(c) A rechargeable battery, with proper charging, able to power the alarm for a life of 5 years and shall be automatically recharged by an AC circuit of the commercial light and power source.

(d) A household or commercial use alarm system with battery backup listed and approved in accordance with the household and commercial fire warning equipment provisions of NFPA 72, as adopted by reference in this rule.

(3) Audible Alarm Notification. The activation of the alarm signal shall produce a sound that is audible in all occupiable dwelling areas.

(4) Testing and Maintenance. The owner of a dwelling unit, in which required or optional fire detection or fire protection systems equipment is installed, shall be responsible for the proper operation, testing, and maintenance of the equipment in accordance with the manufacturer’s instructions included with the equipment. The occupant of rental dwelling units shall be responsible for the periodic operational testing and periodic cleaning of the installed equipment within the rental unit in accordance with the testing instructions provided in the manufacturer’s instructions for the equipment. If the system fails, breaks, or is out of service, it shall be repaired and functional within 30 days.

Exception: Smoke alarms and devices installed in buildings constructed before November 6, 1974 where an installation was approved by the appropriate enforcing agency under regulations in effect at the time of the installation shall be considered to comply with the provisions of the code.

R 408.30568 Altered area use and occupancy classification change. Rescinded.

Rule 568. Sections 110.1 and 110.2 of the code are amended as follows:

110.1. Altered area use and occupancy classification change. An altered area of a building shall not be used or occupied, and a change in the existing occupancy classification of a building or portion thereof shall not be made until the building official has issued a certificate of occupancy in accordance with the act. The issuance of a certificate of occupancy shall not be construed as an approval of a violation of the provisions of this code or of the other ordinances of the jurisdiction.

110.2. Certificate issued. After the building official inspects the building or structure and finds no violations of the provisions of this code or other laws that are enforced by the department and all permit and plan review fees are paid, the building official shall issue a certificate of occupancy that contains all of

the following:

(a) The building permit number.

(b) The address of the structure.

(c) A description of that portion of the structure for which the certificate is issued.

(d) A statement that the described portion of the structure has been inspected for compliance with the requirements of this code for the occupancy and division of occupancy and the use for which the proposed occupancy is classified.

(e) The name and signature of the building official or designee, registered in accordance with the building officials and inspectors registration act, 1986 PA 54, MCL 338.2301 to 338.2313.

(f) The edition of the code under which the permit was issued.

(g) The use and occupancy, in accordance with the provisions of the Michigan building code.

(h) The type of construction as defined in the Michigan building code.

(i) The design occupant load.

(j) If an automatic sprinkler system is provided, whether the sprinkler system is required.

(k) Any special stipulations and conditions of the building permit.

R 408.30570 Board of appeals. Rescinded.

Rule 570. Sections 112.1 and 112.3 of the code are amended as follows:

112.1. Means of appeal. An interested person may appeal a decision of the enforcing agency to the board of appeals in accordance with the act. An application for appeal shall be based on a claim that the true intent of the code or the rules governing construction have been incorrectly interpreted, the provisions of the code do not apply, or an equal or better form of construction is proposed. The decision of a local board of appeals may be appealed to the construction code commission in accordance with the act and time frames.

Exception: Requests for barrier free design exception shall be in accordance with 1966 PA 1, MCL 125.1351 to 125.1356.

112.3. Qualification. The board of appeals shall consist of members who are qualified in accordance with the act and are not employees of the governmental subdivision or the agency enforcing the code.

R 408.30571  Violation penalties.

Rule 571. Section 109.6 is added and Section section 113.4 of the code is amended as follows:

109.6 Approval required: Work shall not be done beyond the point indicated in each successive inspection without first obtaining the approval of the building official. The building official on notification shall make the requested inspections and shall either indicate the portion of the construction that is satisfactory as completed, or shall notify the permit holder or agent of the permit holder where a portion of the construction fails to comply with the code. The notification shall include specific reference to the code chapter and section numbers in violation in writing. Any portions that no do not comply shall be corrected and such portion shall not be covered or concealed until authorized by the building official. Neither the code official or the authority having jurisdiction are liable for expense entailed in the removal or replacement of material required to allow inspection.

113.4 Violation penalties.

(1) It is unlawful for any person, firm, or corporation to violate a provision of this the code or fail to conform with any of the requirements thereof, or erect, construct, alter, extend, repair, move, remove, demolish, or occupy any building, structure, or equipment regulated by the this code, or cause work to be performed or done in conflict with or in violation of the approved construction documents or directive of the enforcing agency or a permit or certificate issued under this the code.

(2) A violator shall be assessed a fine in accordance with the act. and may be subject to a review that could result in licensing action pursuant to the skilled trades regulation act, 2016 PA 407, MCL 339.5101 to 339.6133.

R 408.30572 Stop work order. Rescinded.

Rule 572. Section 114.2 of the code is amended as follows:

114.2. Issuance. Notice shall be in accordance with the act. A person who is served with a stop work order, except for work that the person is directed to perform to remove a violation or unsafe condition, is subject to the penalty provisions prescribed in the act.

R 408.30573 Change of occupancy. Rescinded.

Rule 573. Section 410.4 of the code is amended as follows:

410.4. Change of occupancy. Unless technically infeasible, sections 410.6, 410.7, and 410.8 of the code shall be applied in accordance with the utilization of public facilities by physically limited, 1966 PA 1, MCL 125.1351 to 125.1356.

R 408.30574 Accessibility. Rescinded.

Rule 574. Section 705.1 of the code is amended as follows:

705.1. General. A building, facility, or element that is accessible shall remain accessible in accordance with the requirements of the utilization of public facilities by physically limited, 1966 PA 1, MCL 125.1351 to 125.1356, and the Michigan building code, R 408.30401 to R 408.30499.

R 408.30575 High-rise buildings. Rescinded.

Rule 575. Sections 702.4 and 902.1 of the code are amended to read as follows:

702.4. Window opening control devices. In group R-2 or R-3 buildings containing dwelling units, window opening control devices complying with ASTM F2090 shall be installed where an existing window is replaced and where all the following apply to the replacement window:

(1) The window is operable.

(2) The window replacement includes replacement of the sash and the frame.

(3) In group R-2 or R-3 buildings containing dwelling units, the top of the sill of the window opening is at a height less than 36 inches (915 mm) above the finished floor, or in one- and two-family dwellings and townhouses regulated by the international residential code, the top of the sill of the window opening is at a height less than 24 inches (610 mm) above the finished floor.

(4) The window will permit openings that will allow passage of a 4-inch diameter (102 mm) sphere when the window is in its largest opened position.

(5) The vertical distance from the top of the sill of the window opening to the finished grade or other surface below, on the exterior of the building, is greater than 72 inches (1829 mm).

The window opening control device, after operation to release the control device allowing the window to fully open, shall not reduce the minimum net clear opening area of the window unit to less than the area required by the international building code.

Exceptions:

(1) Operable windows where the top of the sill of the window opening is located more than 75 feet (22.86 m) above the finished grade or other surface below, on the exterior of the room, space or building, and that are provided with window fall prevention devices that comply with ASTM F2006.

(2) Operable windows with openings that are provided with window fall prevention devices that comply with ASTM F2090.

902.1. High-rise buildings. Any building having 1 or more occupied floors located more than 55 feet (16 764 mm) above the lowest level of fire department vehicle access shall comply with the requirements of sections 902.1.1 and 902.1.2.

Exception: The provisions of sections 902.1.1 and 902.1.2 shall apply to buildings having occupied floor levels more than 75 feet above the lowest level of fire department vehicle access where the local unit of government has complied with the provisions of section 403.1 of the Michigan building code, exception 6.

R 408.30576 Accessibility requirements. Rescinded.

Rule 576. Sections 1006.1 and 1012.8 of the code are amended as follows:

1006.1. General. Accessibility in portions of buildings undergoing a change of occupancy classification shall comply with the provisions of section 410.4.

1012.8. Accessibility. A building, facility, or element that has a change in use group or occupancy load or alteration shall comply with the requirements of the utilization of public facilities by physically limited, 1966 PA 1, MCL 125.1351 to 125.1356 and the Michigan building code, R 408.30401 to R 408.30499.